## Pump
Make | Reference No | Offer No | Vendor name | Model No | Deviation | Standars | Instument | MOC | Flow Rate | Discharge | Head | Diameter | Type | Capacity | Line Size | Quantity | Price | Total Amount | Delivery | Email | Phone
KSB Pumps | REF001 | OFF-2025-01 | AquaTech Engineers | KS1000 | Nil | ISO 9001 | Pressure Gauge | SS316 | 120 | 100 | 50 | 80 | Centrifugal | 5000 | 3 | 5 | 100000 | 500000 | 2 weeks | flora@gmail.com | 9080909080
Grundfos | REF002 | OFF-2025-02 | HydroFlow Pvt Ltd | GR-400 | Minor | ASTM B584 | Flow Meter | CI | 200 | 150 | 60 | 100 | Submersible | 8000 | 4 | 2 | 100000 | 200000 | 4 weeks | flo@gmail.com | 9080909080
Kirloskar | REF003 | OFF-2025-03 | FluidTech Systems | KIR-300 | None | ISO 5199 | Level Sensor | CS | 180 | 140 | 55 | 90 | End Suction | 6500 | 3.5 | 1 | 500000 | 500000 | 5 weeks | flora@gmail.com | 9080908080
Crompton | REF004 | OFF-2025-04 | AquaLine Industries | CR-250 | Yes | API 610 | Pressure Transmitter | SS304 | 160 | 120 | 45 | 80 | Mono Block | 7000 | 3 | 6 | 100000 | 600000 | 6 weeks | flo@gmail.com | 9080909080
Wilo | REF005 | OFF-2025-05 | FlowMax Engineers | W-500 | Nil | DIN 24255 | Flow Switch | Bronze | 210 | 180 | 65 | 100 | Vertical Multistage | 9000 | 4 | 7 | 100000 | 700000 | 7 weeks | flora@gmail.com | 9080909080
Kirlo | REF006 | OFF-2025-06 | AquaLine Industries | KIR-300 | None | ISO 5199 | Level Sensor | CS | 180 | 140 | 45 | 80 | Mono Block | 7000 | 3 | 8 | 100000 | 800000 | 8 weeks | flo@gmail.com | 9080909080

## Dosing pump
Reference No | Offer No | Vendor name | Model No | Deviation | Standars | Instument | MOC | Flow Rate | Discharge | Head | Diameter | Type | Capacity | Line Size | Quantity | Price | Total Amount | Delivery
REF001 | OFF-2025-01 | AquaTech Engineers | KS1000 | Nil | ISO 9001 | Pressure Gauge | SS316 | 120 | 100 | 50 | 80 | Centrifugal | 5000 | 3 | 5 | 100000 | 500000 | 2 weeks
REF002 | OFF-2025-02 | HydroFlow Pvt Ltd | GR-400 | Minor | ASTM B584 | Flow Meter | CI | 200 | 150 | 60 | 100 | Submersible | 8000 | 4 | 2 | 100000 | 200000 | 4 weeks
REF003 | OFF-2025-03 | FluidTech Systems | KIR-300 | None | ISO 5199 | Level Sensor | CS | 180 | 140 | 55 | 90 | End Suction | 6500 | 3.5 | 1 | 500000 | 500000 | 5 weeks
REF004 | OFF-2025-04 | AquaLine Industries | CR-250 | Yes | API 610 | Pressure Transmitter | SS304 | 160 | 120 | 45 | 80 | Mono Block | 7000 | 3 | 6 | 100000 | 600000 | 6 weeks

## Evaporator
Make | Reference No | Offer No | Vendor name | Model No | Deviation | Standars | Instument | MOC | Flow Rate | Discharge | Head | Diameter | Type | Capacity | Line Size
KSB Pumps | REF001 | OFF-2025-01 | AquaTech Engineers | KS1000 | Nil | ISO 9001 | Pressure Gauge | SS316 | 120 | 100 | 50 | 80 | Centrifugal | 5000 | 3
Grundfos | REF002 | OFF-2025-02 | HydroFlow Pvt Ltd | GR-400 | Minor | ASTM B584 | Flow Meter | CI | 200 | 150 | 60 | 100 | Submersible | 8000 | 4
Kirloskar | REF003 | OFF-2025-03 | FluidTech Systems | KIR-300 | None | ISO 5199 | Level Sensor | CS | 180 | 140 | 55 | 90 | End Suction | 6500 | 3.5

## MBR
Make | Reference No | Offer No | Vendor name | Model No | Deviation | Standars | Instument | MOC | Flow Rate | Discharge | Head | Diameter | Type | Capacity | Line Size
KSB Pumps | REF001 | OFF-2025-01 | AquaTech Engineers | KS1000 | Nil | ISO 9001 | Pressure Gauge | SS316 | 120 | 100 | 50 | 80 | Centrifugal | 5000 | 3
Grundfos | REF002 | OFF-2025-02 | HydroFlow Pvt Ltd | GR-400 | Minor | ASTM B584 | Flow Meter | CI | 200 | 150 | 60 | 100 | Submersible | 8000 | 4

## Filters
Make | Reference No | Offer No | Vendor name | Model No | Deviation | Standars | Instument | MOC | Flow Rate | Discharge | Head | Diameter | Type | Capacity | Line Size
Crompton | REF004 | OFF-2025-04 | AquaLine Industries | CR-250 | Yes | API 610 | Pressure Transmitter | SS304 | 160 | 120 | 45 | 80 | Mono Block | 7000 | 3
Wilo | REF005 | OFF-2025-05 | FlowMax Engineers | W-500 | Nil | DIN 24255 | Flow Switch | Bronze | 210 | 180 | 65 | 100 | Vertical Multistage | 9000 | 4
Kirlo | REF006 | OFF-2025-06 | AquaLine Industries | KIR-300 | None | ISO 5199 | Level Sensor | CS | 180 | 140 | 45 | 80 | Mono Block | 7000 | 3

## Scrapper
Make | Reference No | Offer No | Vendor name | Model No | Deviation | Standars | Instument | MOC | Flow Rate | Discharge | Head | Diameter | Type | Capacity | Line Size
Crompton | REF004 | OFF-2025-04 | AquaLine Industries | CR-250 | Yes | API 610 | Pressure Transmitter | SS304 | 160 | 120 | 45 | 80 | Mono Block | 7000 | 3
Wilo | REF005 | OFF-2025-05 | FlowMax Engineers | W-500 | Nil | DIN 24255 | Flow Switch | Bronze | 210 | 180 | 65 | 100 | Vertical Multistage | 9000 | 4
Kirlo | REF006 | OFF-2025-06 | AquaLine Industries | KIR-300 | None | ISO 5199 | Level Sensor | CS | 180 | 140 | 45 | 80 | Mono Block | 7000 | 3